## Instrument
instrument_id | model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
I0001 | AirU Pollution Monitor | A008 | 1 | Fixed | Humidity, Temperature, PM1, PM2.5, PM10, CO, NOx, Position | [14 empty] | No
I0002 | Axivity AX3 | AX3 |  | Mobile | Acceleration, Tempreature, Time, Light |  |  | Axivity | [11 empty] | Yes
I0003 | Biacore™ 1K SPR system 1K SPR system | Biacore™ 1K SPR system 1K SPR system |  | Fixed |  |  |  | Cytiva | [11 empty] | No
I0004 | HySpex SWIR-640 | HySpex SWIR-640 |  | Mobile | Shortwave infrared (SWIR) spectral data |  |  | HySpex | [11 empty] | No
I0005 | Extech 407730 Digital Sound Level Meter | 407730 |  | Mobile | Sound |  |  | Extech
I0006 | ActiGraph LEAP™ | LEAP |  | Mobile | Acceleration, Pressure, Orientation and angular velocity Tempreature, Time, Light, Sound |  |  | ActiGraph | [11 empty] | Yes
I0007 | Actiwatch Spectrum Pro | 1099351 |  | Mobile | Acceleration, Light, Sleep parameters |  |  | Philips | [11 empty] | Yes
I0008 | Personal air quality monitors (PAMs) | PAM Personal Air Monitor |  | Mobile | Humidity, Total VOCs Temperature, PM1, PM2.5, PM10, CO, Pressure |  |  | 2B Technologies | [11 empty] | No

## DataTransport
data_transport_id | instrument_id | physical_transmission_method | transport_layer_protocol | application_transport_protocol_type | application_layer_access_type | transmission_payload_format | transmission_frequency | transmission_reference_time | transmission_time | data_storage_type | data_storage_host | has_built_in_memory | built_in_memory_type | capacity_of_memory | data_retention
DT0001 | I0001 | Wi-Fi |  | MQTT | Web Interface |  |  |  |  | Data Warehouse
DT0002 | I0002 | Microprocessor
DT0003 | I0002 | USB
DT0004 | I0005 | LCD Display
DT0005 | I0006 | USB
DT0006 | I0006 | Bluetooth LE 5.3
DT0007 | I0008 | WiFi
DT0008 | I0008 | Celluar data
DT0009 | I0008 | Bluetooth

## Sensor
sensor_id | model_name | instrument_id | model_id | is_primary | version_number | mobility | firmware_software_version | sensor_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
S0001 | PMS3003 | I0001 | P130 | Yes | 2 | Fixed | [14 empty] | No
S0002 | HDC1080 | I0001 | H137 | No | 3 | Mobile | [14 empty] | No
S0003 | MiCS-4514 | I0001 | M134 | No | 1 | Fixed | [14 empty] | No
S0004 | FGPMMOPA6H | I0001 | F127 | No | 1 | Fixed | [14 empty] | No
S0005 | MEMS (Accelerometer) | I0002 |  | Yes |  | Mobile | [14 empty] | Yes
S0006 | APDS9007 (Light Sensor) | I0002 |  | No |  | Mobile | [14 empty] | Yes
S0007 | MCP9700 (Temperature Sensor) | I0002 |  | No |  | Mobile | [14 empty] | Yes
S0008 | MCT | I0004 |  | Yes |  | Mobile | [14 empty] | No
S0009 | Electric Condenser Microphone | I0005 |  | Yes |  | Mobile | [14 empty] | No
S0010 | Barometer | I0006 |  | No |  | Mobile
S0011 | Microphone | I0006 |  | No |  | Mobile
S0012 | IMU Gyroscope | I0006 |  | No |  | Mobile
S0013 | IMU Accelerometer | I0006 |  | Yes |  | Mobile
S0014 | Skin Temperature Sensor | I0006 |  | No |  | Mobile
S0015 | Multi-Wavelength Photoplethysmography PPG | I0006 |  | No |  | Mobile
S0016 | Telaire T6713 (NDIR) | I0008 | T6713 | Yes |  | Mobile
S0017 | Plantower PMS7003 (Laser Scattering) | I0008 | PMS7003 | Yes |  | Mobile
S0018 | Alphasense CO-A4 (Electrochemical) | I0008 | CO-A4 | Yes |  | Mobile
S0019 | ION Science Mini-PID2 HS (Photoionization) | I0008 | PID2 HS | Yes |  | Mobile
S0020 | Bosch BME680 | I0008 | BME680 | Yes |  | Mobile
S0021 | Honeywell HIH8120 (Platinum RTD / Capacitive) | I0008 | HIH8120 | Yes |  | Mobile
S0022 | MEMS type accelerometer | I0007 |  | Yes |  | Mobile | [14 empty] | Yes
S0023 | Photodetectors | I0007 |  | Yes |  | Mobile | [14 empty] | Yes

## Measurement
measurement_id | sensor_id | measured_entity | units_of_measurement | sample | reference_range | lower_size_detection_limit | upper_size_detection_limit | standard_error_precision | data_collection_resolution | instrument_monitoring_method | data_processing_mechanism | total_system_volume | operational_temperature | operational_humidity | calibration_guideline
M0001 | S0001 | PM1 | µg/m³
M0002 | S0001 | PM2.5 | µg/m³
M0003 | S0001 | PM10 | µg/m³
M0004 | S0002 | Temperature | °C
M0005 | S0002 | Humidity | %Relative Humidity
M0006 | S0003 | CO | ppm
M0007 | S0003 | NOx | ppm
M0008 | S0004 | Position | Degrees (latitude and longitude)
M0009 | S0005 | Acceleration | g
M0010 | S0006 | Light | lux
M0011 | S0007 | Temperature | °C
M0012 | S0009 | Shortwave infrared (SWIR) spectral data | nm
M0013 | S0010 | Sound | dB
M0014 | S0011 | Pressure | hPa
M0015 | S0012 | Sound | Hz
M0016 | S0013 | Angular motion | dps
M0017 | S0014 | Acceleration | g
M0018 | S0015 | Temperature | °C
M0019 | S0016 | Wavelength | nm
M0020 | S0017 | CO2 | ppm
M0021 | S0018 | PM1 | μm
M0022 | S0019 | CO | ppm
M0023 | S0020 | Total VOCs | ppm
M0024 | S0021 | Pressure | hPa
M0025 | S0022 | Relative Humidity | %RH
M0026 | S0018 | PM2.5 | μm
M0027 | S0022 | Temperature | °C
M0028 | S0023 | Acceleration | g
M0029 | S0024 | Light | flux

## Inventory
inventory_id | instrument_id | sensor_id | serial_number | inventory_number
INV0001 | I0001 |  | SA008 | SA008234567
INV0002 | I0001 | S0001 | SA130 | SA130234567
INV0003 | I0001 | S0002 | SA137 | SA137234567
INV0004 | I0001 | S0003 | SA134 | SA134234567
INV0005 | I0001 | S0004 | SA127 | SA127234567

## Organization
organization_id | instrument_id | sensor_id | organization_name | organization_type | street | country | state | city | county | zip_code | latitude | latitude_units | longitude | longitude_units | contact_name | contact_role | contact_email | contact_phone | url
ORG0001 | I0001 |  | University of Utah | Research Institute
ORG0002 |  | S0001 | Plantower | Manufacturer
ORG0003 |  | S0002 | Texas Instruments | Manufacturer
ORG0004 |  | S0003 | SGX SensorTech | Manufacturer
ORG0005 |  | S0004 | G.TOP | Manufacturer
ORG0006 | I0002 |  | Axivity | Manufacturer
ORG0007 |  | S0006 | Broadcom Inc. | Manufacturer
ORG0008 |  | S0007 | Microchip Technology | Manufacturer
ORG0009 | I0003 |  | Biacore™ | Manufacturer
ORG0010 | I0004 |  | HySpex | Manufacturer
ORG0011 | I0005 |  | FLIR COMMERCIAL SYSTEMS, INC. | Manufacturer
ORG0012 | I0006 |  | ActiGraph | Manufacturer
ORG0013 |  | S0017 | Telaire | Manufacturer
ORG0014 |  | S0018 | Plantower | Manufacturer
ORG0015 |  | S0019 | Alphasense | Manufacturer
ORG0016 |  | S0020 | ION Science Ltd | Manufacturer
ORG0017 |  | S0021 | Bosch Sensortec | Manufacturer
ORG0018 |  | S0022 | Honeywell Sensing and IoT | Manufacturer
ORG0019 | I0008 |  | 2B Technologies | Manufacturer

## Document
document_id | instrument_id | sensor_id | document_name | document_description | document_category | document_type | document_storage_location | document_storage_file_format | document_version | document_url
D0001 | I0001 |  | AirU.pdf |  |  | electronic copy |  | pdf |  | https://airu.coe.utah.edu/
D0002 | I0002 |  | AX3v2_Datasheet |  | datasheet | electronic copy |  | pdf |  | chrome-extension://efaidnbmnnnibpcajpcglclefindmkaj/https://axivity.com/files/resources/AX3v2_Datasheet.pdf
D0003 | I0003 |  | Biacore-1-series-SPR-systems-data-file-CY29857-10Oct24-DF |  |  | electronic copy |  | pdf |  | https://cdn.cytivalifesciences.com/api/public/content/kaGfavjgxEeC91-3PeQ6lQ-pdf
D0004 | I0004 |  | hyspex_swir-640 |  | datasheet | electronic copy |  | pdf |  | www.hyspex.com/media/gl4dmlkt/hyspex_swir-640.pdf
D0005 | I0005 |  | 407730_UM_en-US |  | User Manual | electronic copy |  | pdf |  | https://www.flir.com/support/products/407730/?vertical=condition+monitoring&segment=solutions#Documents
D0006 | I0005 |  | 407730_DS_en-US |  | datasheet | electronic copy |  | pdf |  | https://6407355.fs1.hubspotusercontent-na1.net/hubfs/6407355/User%20Manuals/ActiGraph%20LEAP%E2%84%A2%20User%20Manual.pdf
D0007 | I0006 |  | ActiGraph LEAP™ User Manual |  | User Manual | electronic copy |  | pdf |  | https://theactigraph.com/downloads
D0008 | I0007 |  | fde6a9a205274d9a86ffacda00bc29a9 |  | User Manual | electronic copy |  | pdf |  | https://www.documents.philips.com/assets/20210225/fde6a9a205274d9a86ffacda00bc29a9.pdf
D0009 | I0008 |  | model_PAM_revE-6 |  | User Manual | electronic copy |  | pdf |  | https://2btech.io/docs/docs_pam/pam/

## SampleCollection
sample_collection_id | sensor_id | collection_type | processing_procedure | collection_duration | sample_type | ouptut_measurement_method | sample_transport
SC0001 | S0001 | Light-scattering
SC0002 | S0002 | Direct measurement
SC0003 | S0005 | NAND Flash memory
SC0004 | S0017 | Non-Dispersive Infrared
SC0005 | S0018 | Laser Scattering
SC0006 | S0019 | Electrochemical
SC0007 | S0020 | Photoionization
SC0008 | S0022 | Platinum RTD
SC0009 | S0022 | Capacitive

## ValidationInstrument
validation_instrument_id | sensor_id | instrument_model | validation_process_status | validation_start_date | validation_end_date | validation_start_time | validation_end_time | reference_time | validation_time_duration | validation_location | street | country | state | city | county | zip_code | latitude | latitude_units | longitude | longitude_units | field_description | validated_sensor_resolution | instrument_resolution | ambient_env_measurements_at_validation | humidity_at_validation | validation_result
V0001 | S0001 | ThermoFisher 5030i SHARP | Done | [6 empty] | Hawthorne and Rose Park Elementary Schools | [15 empty] | Validated through co-location

## Description
Instrument Represents the overarching instrument. | Attribute (Yellow highlighted are required attributes) | Description | Example Value
| instrument_id | Auto-generated | I0002
| model_name | The term by which the instrument is known. This could be a trade name or an alias. | AirU, MiniVolTM TAS, FooBot, Dylos 1700, personal UFP (PUFP) sensor
| model_id | The unique identifier used to differentiate each model of an instrument made by certain manufacturer. | DC 1700, DC 1100
| version_number | The current version of the instrument model. It differentiates instruments within the same model. The usually refers to a version of the hardware. | 1,2,3, alpha, beta
| mobility | Whether the instrument can be moved around for measuring the species. | Mobile, fixed
| measured_entities | List of all the types of measurement done by the instrument | PM1,PM2.5,CO,NOx
| firmware_software_version | Current firmware or software version of the model. | 1,2,3
| instrument_type | The category of instrument based on the species measured by the instrument.
| manufacturer | The person, group, or organization that develops or produces the instrument. | University of Utah, Airmetrics
| patent_number | The serial number of the patent, if the instrument is patented. | Patent # US 844965
| patent_issued_country | The country issuing the patent. | US
| dimensions | The size of the instrument in physical space. The dimension could have attributes of depth, height, and length. Each dimension includes a value and unit. (Use this if the dimensions aren’t available discretely, else use the below fields.) | 10 x 10 x 5 cm; 10 in * 20 in * 15 in; depth: 10 cm, height: 10 cm, width: 10 cm
| dimension_depth | The depth or thickness of the instrument. | 10 cm
| dimension_height | The vertical height of the instrument. | 20 mm
| dimension_length | The horizontal length of the instrument. | 3 nm
| composition | The description of the composition of combining parts or elements making up of the instrument. | Comprised of an evaporation– condensation-tube, a miniature diaphragm air pump, an optical detection module, a flow regulator, water tank, GPS, and battery pack in a plastic shell body. The instrument includes 3 parts, and they are PM2.5 sensor, GPS module, and a backpack
| price | The cost of the instrument. This could be a potential price or price range of the instrument, such as the manufacturer recommended price, actual price, or price range to purchase the instrument. | $30
| price_type | Whether the price/price range is the potential price or actual price to purchase the instrument. | Manufacturer recommended price
| indoor_outdoor_use | Whether the instrument is intended to be used inside a building or structure that is protected from the natural environment. Or, if the instrument can be used outdoors and can tolerate exposure to the natural environment. | Indoor, Outdoor, Both
| is_personal_device | Whether or not the instrument is intended to be used to and track information for individuals. | Yes, No
| is_wearable_device | Whether or not the instrument can be worn by individuals on their body or carried, and track information. | Yes, No
| is_water_or_splash_proof | Whether or not the instrument can tolerate exposure to water. | Yes, No
| needs_power_source | Whether or not the instrument needs a source of power for its normal function. If power is needed, the type of power should be listed. See "Source of Power." | Yes, No
| power_source | The type of power that supports the instrument for its normal function/s. | Battery, AC, solar, wind
| battery_operation_time_limit | The duration of battery life, if the "source of power" is battery. | 12 hours
| battery_capacity | The amount of electric charge the battery can deliver at the rated voltage. | 2200mAh
| output_voltage | The voltage released by the battery. | 14.8V
| is_rechargeable | Whether or not the battery's electric charge can be restored by connecting the battery to a recharging device. | Yes, No
| battery_type | The category of battery, based on the chemical used in the battery's electrochemical cells. | Lithium Ion batteries, Nickel– cadmium battery
| charger | If the battery is rechargeable, this element is used to describe the charger. | 1.2 amp external battery charger
| time_to_full_charge | The time taken to recharge the battery. | Full recharge in less than 6 hours
| has_display | Whether or not the instrument is capable of displaying information. If yes, more information can be recorded in the following data element, such as how many monitors, and what type of monitors does it have. | Yes, No
| number_of_displays | The number of displays with the instrument. | 2
| display_type | The category of the monitor used to display information. | LCD screen, LED monitor
| warranty_time | The length of time covered by the instrument's warranty. | 1 year
| warranty_condition | The facts or conditions under which the warranty is valid. | The period of warranty shall start from the date of delivery of the product to the customer and shall cover a period of 2 years
| lifetime_of_device | The duration of time during which the instrument is expected to function properly according to the manufacturer. | Re-usable; If a problem must replace (not repairable)
| recommended_maintenance_method | The method suggested for maintaining the instrument. | Clean with compressed air
| recommended_maintenance_frequency | The frequency at which the maintenance should be repeated. | At least once a month
Sensor Represents individual sensors within the instrument. | sensor_id | Auto-generated | S0004
| instrument_id | Foreign key to instrument_id from Instrument | I0002
| model_name | The term by which the sensor is known. This could be a trade name or an alias. | Dylos 1700, personal UFP (PUFP) sensor
| model_id | The unique identifier used to differentiate each model of an sensor made by certain manufacturer. | DC 1700, DC 1100
| is_primary | Whether the sensor serves as the primary sensor within the instrument it is integrated into. | Yes, No
| version_number | The current version of the sensor model. It differentiates sensors within the same model. The usually refers to a version of the hardware. | 1,2,3, alpha, beta
| mobility | Whether the sensor can be moved around for measuring the species. | Mobile, fixed
| firmware_software_version | Current firmware or software version of the model. | 1,2,3
| sensor_type | The category of instrument based on the species measured by the sensor. | Gas sensor, particle sensor, volatiles or semi-volatiles
| manufacturer | The person, group, or organization that develops or produces the sensor. | University of Utah, Airmetrics
| patent_number | The serial number of the patent, if the sensor is patented. | Patent # US 844965
| patent_issued_country | The country issuing the patent. | US
| dimensions | The size of the sensor in physical space. The dimension could have attributes of depth, height, and length. Each dimension includes a value and unit. (Use this if the dimensions aren’t available discretely, else use the below fields.) | 10 x 10 x 5 cm; 10 in * 20 in * 15 in; depth: 10 cm, height: 10 cm, width: 10 cm
| dimension_depth | The depth or thickness of the sensor. | 10 cm
| dimension_height | The vertical height of the sensor. | 20 mm
| dimension_length | The horizontal length of the sensor. | 3 nm
| composition | The description of the composition of combining parts or elements making up of the sensor. | Comprised of an evaporation– condensation-tube, a miniature diaphragm air pump, an optical detection module, a flow regulator, water tank, GPS, and battery pack in a plastic shell body. The instrument includes 3 parts, and they are PM2.5 sensor, GPS module, and a backpack
| price | The cost of the sensor. This could be a potential price or price range of the sensor, such as the manufacturer recommended price, actual price, or price range to purchase the sensor. | $30
| price_type | Whether the price/price range is the potential price or actual price to purchase the sensor. | Manufacturer recommended price
| indoor_outdoor_use | Whether the sensor is intended to be used inside a building or structure that is protected from the natural environment. Or, if the sensor can be used outdoors and can tolerate exposure to the natural environment. | Indoor, Outdoor, Both
| is_personal_device | Whether or not the sensor is intended to be used to and track information for individuals. | Yes, No
| is_wearable_device | Whether or not the sensor can be worn by individuals on their body or carried, and track information. | Yes, No
| is_water_or_splash_proof | Whether or not the sensor can tolerate exposure to water. | Yes, No
| needs_power_source | Whether or not the sensor needs a source of power for its normal function. If power is needed, the type of power should be listed. See "Source of Power." | Yes, No
| power_source | The type of power that supports the sensor for its normal function/s. | Battery, AC, solar, wind
| battery_operation_time_limit | The duration of battery life, if the "source of power" is battery. | 12 hours
| battery_capacity | The amount of electric charge the battery can deliver at the rated voltage. | 2200mAh
| output_voltage | The voltage released by the battery. | 14.8V
| is_rechargeable | Whether or not the battery's electric charge can be restored by connecting the battery to a recharging device. | Yes, No
| battery_type | The category of battery, based on the chemical used in the battery's electrochemical cells. | Lithium Ion batteries, Nickel– cadmium battery
| charger | If the battery is rechargeable, this element is used to describe the charger. | 1.2 amp external battery charger
| time_to_full_charge | The time taken to recharge the battery. | Full recharge in less than 6 hours
| has_display | Whether or not the sensor is capable of displaying information. If yes, more information can be recorded in the following data element, such as how many monitors, and what type of monitors does it have. | Yes, No
| number_of_displays | The number of displays with the sensor. | 2
| display_type | The category of the monitor used to display information. | LCD screen, LED monitor
| warranty_time | The length of time covered by the sensor's warranty. | 1 year
| warranty_condition | The facts or conditions under which the warranty is valid. | The period of warranty shall start from the date of delivery of the product to the customer and shall cover a period of 2 years
| lifetime_of_device | The duration of time during which the sensor is expected to function properly according to the manufacturer. | Re-usable; If a problem must replace (not repairable)
| recommended_maintenance_method | The method suggested for maintaining the sensor. | Clean with compressed air
| recommended_maintenance_frequency | The frequency at which the maintenance should be repeated. | At least once a month
DataTransport Metadata about data transmission methods. | instrument_id | Foreign key to instrument_id from Instrument | I0002
| data_transport_id | Auto-generated | DT0001
| physical_transmission_method | Means of transmission of data from field to initial central collection point. | Point to Point RF, LAN, satellite downlink, blue tooth, Wi-Fi, cellular network, landline telephony, upload to server, other
| transport_layer_protocol | Type of transport layer implemented by the physical transmission method. | TCP/IP, UDP,PROPRIETARY
| application_transport_protocol_type | Type of protocol used for connectivity implementati on of data transmission. | HTTP,HTTPS,SMTP,JMS,SSH,PROPRIET ARY
| application_layer_access_type | Access method to the data stored from the sensor. | API-REST,API-SOAP,JDBC, SQL
| transmission_payload_format | Type of message used for data transmission. | csv, xml, json, binary
| transmission_frequency | Frequency of data transmission. | real time, twice a day, every 30 minutes
| transmission_reference_time | Reference time used. | Greenwich Mean Time (GMT)
| transmission_time | Time duration of the data transmission. | 12 hours
| data_storage_type | Category of physical data storage mechanism. | cloud storage, data warehouse, direct broadcast station, localhost
| data_storage_host | Description of the hostname and location of the data storage. | data.proxyhost.somewhere.com, 127.0.0.1
| has_built_in_memory | Does the instrument have built in memory or not. | Yes, No
| built_in_memory_type | The kind of memory the instrument uses for the built-in memory. | volatile, non-volatile
| capacity_of_memory | The storage space of the built-in memory. | 12MB
| data_retention | The action to be taken when out of memory. | overwriting oldest data
Inventory Tracks physical copies of instruments or sensors. | instrument_id | Foreign key to instrument_id from Instrument (Keep this empty if entering information for a Sensor) | I0002
| inventory_id | Auto-generated | INV0005
| sensor_id | Foreign key to sensor_id from Sensor (Keep this empty if entering information for a Instrument) | S0004
| serial_number | Serial number of physical Instrument | A1B234567
| inventory_number | Internal inventory number used to uniquely identify each instrument. | A1B234567
Measurement Represents what the sensors measure. | sensor_id | Foreign key to sensor_id from Sensor | S0004
| measurement_id | Auto-generated | M0001
| measured_entity | A name representing the measured entity which is assigned by the system or taken from a reference terminology or ontology. | Fine particles, motion, temperature
| units_of_measurement | A name representing the units of measurement which is assigned by the system or taken from a reference terminology or ontology. | μg/m3
| sample | A category referring to the nature of the sample analyzed to measure an entity. | Air, Exhaled breath
| reference_range | The reference range used by the instrument for the limit of detection. This could include the upper value and the lower value. | 0 μg/m3 to 1.6 μg/m3
| lower_size_detection_limit | A manufacturer reference limit value distinguishing the lower size detection limit of the instrument. The format could be of a value and unit. | 10 um
| upper_size_detection_limit | A manufacturer reference limit value distinguishing the upper size detection limit of the instrument. The format could consists of a value and unit. | 100 um
| standard_error_precision | An indication used to represent the precision of instrument. | ±16%
| data_collection_resolution | Time granularity range used for data collection. | 1 second
| instrument_monitoring_method | The description of the method utilized by the instrument for monitoring. | Resistor for humidity sensor and a thermostat for temperature; particle counter based on light- scattering technology
| data_processing_mechanism | The description of the mechanism by which the signal and data are generated and processed | The two central processing units on a board convert analog laser particle scattering signature to digital counting data along with the global positioning system (GPS).
| total_system_volume | This value represents the capacity of the instrument to collect a sample by volume. | 1500 cm3
| operational_temperature | The reference range of temperature used for the instrument under normal working conditions. This could be a range of temperature with upper and lower values. | 50 F to 80 F
| operational_humidity | The reference range of humidity used for the instrument under normal working condition. This could be a range of humidity with upper and lower values. | 80% to 90%
| calibration_guideline | A reference to whether or not a calibration guideline exists for the instrument sensor. If yes, the text, document, or links of the manufacturer's recommended calibration should be listed. | Yes or no, if yes, the text, document, or links of the manufacturer's recommended calibration should be listed.
ValidationInstrument Represents instruments used to validate sensors. | sensor_id | Foreign key to sensor_id from Sensor | S0004
| validation_instrument_id | Auto-generated | V0001
| instrument_model | The device used as a reference to validate the instrument. The data generated from the tested instrument is compared with the data of control device. If the controlled device is registered as an instrument model entity, the Versioned Instrument ID of the controlled device should be provided. Control device used for validation. This could be an "instrument" entity. Refer to "instrument administration data" | PMS 1003
| validation_process_status | The current state or condition status of the validation process. | In process, done
| validation_start_date | The point in time as month, day, year, where validation begins. | 42495
| validation_end_date | The point in time as month, day, year where validation terminates. | 42495
| validation_start_time | The point in time as hour, minute, seconds where validation begins. | 0.05713
| validation_end_time | The point in time as hour, minute, seconds where validation terminates. | 0.098796
| reference_time | Time zone of the validation | Mountain Standard
| validation_time_duration | The amount of time it took to validate the instrument. | 3 months
| validation_location | The name of the location where the validation took place. | In the lab
| street | The street where the instrument was validated. | 545 South 700 East
| country | The country where the instrument was validated. | USA
| state | The state (province) where the instrument was validated. | UT
| city | The city where the instrument was validated. | Salt Lake City
| county | The county where the instrument was validated. | Salt Lake
| zip_code | The zip code where the instrument was validated. | 84102
| latitude | The latitude in which the organization resides. | 40.76
| latitude_units | The direction in which the latitude is running. | Degrees North
| longitude | The longitude in which the organization resides. | -111.863, 111.863
| longitude_units | The direction in which the longitude is running. | Degrees West, West
| field_description | The description of the site where the instrument is set up. | In an open field near the I- 15; In an open field surrounded by the trees
| validated_sensor_resolution | Time step for data collection of the tested instrument. | 1s, 1min
| instrument_resolution | Time step for data collection of the instrument. | 1s, 1min
| ambient_env_measurements_at_validation | Ambient temperature, humidity, altitude, pressure during validation. These measurements will link using identifiers in the Output entity. | 75F, 30C, 70%
| humidity_at_validation | Ambient humidity during calibration.
| validation_result | The performance of the tested instrument when compared with the instrument. | The correlation of the PM2.5 from the two sensor is 0.9; passed the validation
Organization Represents Organization information. | instrument_id | Foreign key to instrument_id from Instrument (Keep this empty if entering information for a Sensor) | I0002
| organization_id | Auto-generated | ORG0001
| sensor_id | Foreign key to sensor_id from Sensor (Keep this empty if entering information for a Instrument) | S0004
| organization_name | A name representing the organization. | University of Utah, EPA
| organization_type | A representative category for which the organization belongs. | Manufacturer, owner, research institute, government
| street | The street in which the organization resides. | 545 South 700 East
| country | The country in which the organization resides. | USA
| state | The state (province) in which the organization resides. | UT
| city | The city in which the organization resides. | Salt Lake City
| county | The county in which the organization resides. | Salt Lake
| zip_code | The zip code in which the organization resides. | 84102
| latitude | The latitude in which the organization resides. | 40.76
| latitude_units | The direction in which the latitude is running. | Degrees North
| longitude | The longitude in which the organization resides. | -111.863, 111.863
| longitude_units | The direction in which the longitude is running. | Degrees West, West
| contact_name | A name for the contact within the organization. | John Doe
| contact_role | The role/s the contact possesses within the organization. | Manager, staff
| contact_email | An email address to contact the organization's contact. | JohnDoe@gmail.com
| contact_phone | A phone number to contact the organization's contact. | (800) 123-4567
| url | An address to a resource on the Internet that contains information regarding the organization. | www.organization.com
Document Represents manuals, guides, or documents. | instrument_id | Foreign key to instrument_id from Instrument (Keep this empty if entering information for a Sensor) | I0002
| sensor_id | Foreign key to sensor_id from Sensor (Keep this empty if entering information for a Instrument) | S0004
| document_id | Auto-generated | D0001
| document_name | The name of the document. | User manual for MiniVol
| document_category | The category of the document. | User manual, calibration guideline, topography map, location photo
| document_type | The type of the document. | Hardcopy, online, electronic copy
| document_storage_location | The location where the document is stored. This could be a physical place, on the hardware, or online. If online, the URL might be provided. | In the shipping box, in the database, in the hardware
| document_storage_file_format | If electronic, the document file format. | pdf, MS world, HTML, ASCII
| document_version | The version of the document. | 1.0.0;1.0.1, alpha, beta
| document_url | URL of the document, if online. | http://www.airm etrics.com/produ cts/minivol/
SampleCollection Describes how samples are collected. | sensor_id | Foreign key to sensor_id from Sensor | S0004
| sample_collection_id | Auto-generated | SC0001
| collection_type | How the sensor collects data | Filter, bag, cartridge
| processing_procedure | How to find the value of the measurement | Weight, Send to Lab, Integrated vs continuous, gravimetric vs other
| collection_duration | How long the sensor is open to collect data | 3 days
| sample_type | The entity the sensor captures. | Air
| ouptut_measurement_method | Does the sensor require a human to measure the value output? | Manual, Automatic
| sample_transport | Instructions on how sample needs to be transported to a laboratory for testing. E.g. Ogawa passive badges, or any of the biological samples. | On dry ice, Sealed from external air